Rainfall Analysis for Site 6842 (Panama City 5)

Summary of Missing Data and Accumulations for Site 6842 (Panama City 5)

Blue Italic = records to be closely reviewed

Red = records to be excluded

Before final exclusion of a year of data based on the selection criteria, each record in question must be looked at closely.  The raw data are reviewed to determine if the missing data criteria falls within a non-peak rainfall period.  If so, the maximum for the year would likely not be missed for that year and the remaining data for that year should be included in the analysis.

Data Review for Site 6842 (Panama City 5)

1974 – Retained:  There were 59 days of missing data consisting of all of January and February.  Although this exceeds the selection criteria for number of consecutive missing days, these two months fall within the dry period.  As shown below, the dates generating the maximum volumes occur during July and September.

1975 – Eliminated:  There were 38 days of missing data occurring from June 3rd through July 10th.  The Histogram shows these months having a high average occurrence of annual maximum volumes for this site.

1982 – Eliminated:  There were 55 days of missing data during the months of November and December.  The Histogram shows November as having a relatively high average occurrence of annual maximum volumes for this site.

1985 – Eliminated:  There were 31 days of missing data occurring during August.  This is during the peak-rainfall season.

1990 - Retained:  There were 30 days of missing data occurring during May.  The Histogram shows this month as having a relatively low average occurrence of annual maximum volumes for this site.

1995 – Retained:  There were 32 days of missing data mostly during the month of May.  The Histogram shows this month as having a relatively low average occurrence of annual maximum volumes for this site.

2001 – Eliminated:  There were 56 days of missing data occurring during the months of June, July, August, and September.  These are in the peak-rainfall period.  The data below shows the storms generating the maximum volumes occurring during August and September for 2001.

2003 – Retained:  There were 45 days of missing data spread through the spring and fall.

The Histogram below shows the average occurrences for the period of record for each month,  January through December, for all durations, 1, 2, 6, 12, 24, 48, 72, 96, and 120 hours.  Typically, this demonstrates the small number of maxima that occur during the non-peak rainfall periods of the year.  When reviewing the raw data for averaged and missing points, consideration of the occurrence of maxima is important in determining retention or exclusion of a year for analysis.

Occurrence of Annual Maximum for each Month per Duration

Site 6842 (Panama City 5)

The table of Annual Maximum Volumes is reviewed for any anomalies.  For example, the years with high volumes of rainfall would require the raw data for those storms to be reviewed to verify the volumes reported in the table.

Annual Maximum Volumes (inches) for Site 6842 (Panama City 5)

Distribution Analysis Report for Site 6842 (Panama City 5)

GEV Distribution Volume Parameters (inches) for Site 6842 (Panama City 5)

GEV Volume Predictions (inches) without Weiss factors for Site 6842 (Panama City 5)

The return periods are shown in bold italics to indicate an inconsistency in the predictions.

GEV Volume Predictions (inches) with Weiss factors for Site 6842 (Panama City 5)

GEV Distribution Plot with Weiss Factors for Site 6842 (Panama City 5)

Curve Fit Parameters with Weiss for Site 6842 (Panama City 5)

GEV Volume Predictions (inches) Curve Fit for Site 6842 (Panama City 5)

Actual Maximum Volumes with Weiss

GEV Curve Fit Plot with Actual Maximum Volumes for Site 6842 (Panama City 5)

The points for the 12-, 24-, and 48-hour duration plotted on or above the 200-year return period occurred on September 1st and 2nd.  During this period, Hurricane Earl made landfall at Category 1 on September 2nd near Panama City, Florida.

Hurricane Earl, 1998