Rainfall Analysis for Site 6988 (Pennsuco 5)

Summary of Missing Data and Accumulations for Site 6988 (Pennsuco)

Blue Italic = records to be closely reviewed

Red = records to be excluded

Before final exclusion of a year of data based on the selection criteria, each record in question must be looked at closely.  The raw data are reviewed to determine if the missing data criteria falls within a non-peak rainfall period.  If so, the maximum for the year would likely not be missed for that year and the remaining data for that year should be included in the analysis.

Data Review for Site 6988 (Pennsuco)

1968 – Eliminated:  There were 48 days of missing data occurring mostly in June and July.  The Histogram shows June as having the highest average occurrence of annual maximum volumes for this site.

1974 – Retained:  There were 31 days of missing data occurring during the entire month of December.  The Histogram shows December as having a very low average occurrence of annual maximum volumes for this site.

1980 – Eliminated:  There were 30 days of missing data during the entire month of April.  The Histogram shows April as having a relatively high average occurrence of annual maximum volumes for this site.

1986 and 1996 – Retained:  In 1986, there were 57 days of missing data primarily during all of January and part of February.  In 1996, there were 34 days of missing data during these months.  The Histogram shows January and February as having no average occurrences of annual maximum volumes for this site.

1999 – Eliminated:  There were 62 days of missing data spread through July, August, and September.  The Histogram shows these months as having relatively high average occurrence of annual maximum volumes for this site.

2000 – Retained:  There were 37 days of missing data primarily during March, April, and May.  The selection criteria of no more than 28 days of missing data were not exceeded.

The Histogram below shows the average occurrences for the period of record for each month,  January through December, for all durations, 1, 2, 6, 12, 24, 48, 72, 96, and 120 hours.  Typically, this demonstrates the small number of maxima that occur during the non-peak rainfall periods of the year.  When reviewing the raw data for averaged and missing points, consideration of the occurrence of maxima is important in determining retention or exclusion of a year for analysis.

Occurrence of Annual Maximum for each Month per Duration

Site 6988 (Pennsuco 5)

The table of Annual Maximum Volumes is reviewed for any anomalies.  For example, the years with high volumes of rainfall would require the raw data for those storms to be reviewed to verify the volumes reported in the table.

Annual Maximum Volumes (inches) for Site 6988 (Pennsuco 5)

Distribution Analysis Report for Site 6988 (Pennsuco 5)

GEV Distribution Volume Parameters (inches) for Site 6988 (Pennsuco 5)

GEV Volume Predictions (inches) without Weiss factors for Site 6988 (Pennsuco 5)

GEV Volume Predictions (inches) with Weiss factors for Site 6988 (Pennsuco 5)

GEV Distribution Plot with Weiss Factors for Site 6988 (Pennsuco 5)

Curve Fit Parameters with Weiss for Site 6988 (Pennsuco 5)

GEV Volume Predictions (inches) Curve Fit for Site 6988 (Pennsuco 5)

Actual Maximum Volumes with Weiss

GEV Curve Fit Plot with Actual Maximum Volumes for Site 6988 (Pennsuco 5)