Rainfall Analysis for Site 8775 (Tamiami Canal)

Summary of Missing Data and Accumulations for Site 8775 (Tamiami Canal)

Blue Italic = records to be closely reviewed

Red = records to be excluded

Before final exclusion of a year of data based on the selection criteria, each record in question must be looked at closely.  The raw data are reviewed to determine if the missing data criteria falls within a non-peak rainfall period.  If so, the maximum for the year would likely not be missed for that year and the remaining data for that year should be included in the analysis.

Data Review for Site 8775 (Tamiami Canal)

1959 – Retained:  There were 82 days of missing data including all of January.  The remainder was spread through the year.

1966 – Retained:  There were 36 days of missing data during October and December.  The selection criteria were not exceeded and these months are during the non-peak rainfall period.

The Histogram below shows the average occurrences for the period of record for each month,  January through December, for all durations, 1, 2, 6, 12, 24, 48, 72, 96, and 120 hours.  Typically, this demonstrates the small number of maxima that occur during the non-peak rainfall periods of the year.  When reviewing the raw data for averaged and missing points, consideration of the occurrence of maxima is important in determining retention or exclusion of a year for analysis.

Occurrence of Annual Maximum for each Month per Duration

Site 8775 (Tamiami Canal)

The table of Annual Maximum Volumes is reviewed for any anomalies.  For example, the years with high volumes of rainfall would require the raw data for those storms to be reviewed to verify the volumes reported in the table.

Annual Maximum Volumes (inches) for Site 8775 (Tamiami Canal)

Distribution Analysis Report for Site 8775 (Tamiami Canal)

GEV Distribution Volume Parameters (inches) for Site 8775 (Tamiami Canal)

GEV Volume Predictions (inches) without Weiss factors for Site 8775 (Tamiami Canal)

The return periods are shown in bold italics to indicate an inconsistency in the predictions.

GEV Volume Predictions (inches) with Weiss factors for Site 8775 (Tamiami Canal)

GEV Distribution Plot with Weiss Factors for Site 8775 (Tamiami Canal)

Curve Fit Parameters with Weiss for Site 8775 (Tamiami Canal)

GEV Volume Predictions (inches) Curve Fit for Site 8775 (Tamiami Canal)

Actual Maximum Volumes with Weiss

GEV Curve Fit Plot with Actual Maximum Volumes for Site 8775

(Tamiami Canal)